SUSTAINABLE WASTE MANAGEMENT REPORT FOR

PUTHANCHANTHAI

# URBAN SUSTAINABLE WASTE MANAGEMENT

# (An initiative of Naan Mudhalvan in collaboration with L&T EduTech)

Submitted by

# Register Number        Name of the Student

622521214042	SAMPATH.R

622521214034                PRABAKARAN.M

622521214036                PRIYADHARSHINI.M

622521214044                SANTHIYA

622521214029	 NANDHINI.R

## 622521214052                SOWMIYA.P

## BIOTECHNOLOGY ENGINEERING

SELVAM COLLEGE OF TECHNOLOGY

## NAMAKKAL

Certification of Evolution

COLLEGE: Selvam college of  Technology

BRANCH:	B.Tech . Biotechnology

SEMESTER: VI

| S.NO. | NAME & REGISTER NUMBER OF THE STUDENT | PROJECT TITLE |
| --- | --- | --- |
|  | Priyadharshini.M (622521214036) | Sustainable Waste Management Report For Pudhanchanthai |

The report of the project work submitted by the above student as a part of Urban Sustainable Waste Management Course for the Naan Mudhalvan programme in collaboration with L&T EduTech is evaluated and confirmed to be the work done by the student.

Submitted on                 23-04-2024

Head of the Department	                                        Faculty in-charge

(Designation, Signature with seal)	                 (Designation, Signature with seal)

| SI.NO | TABLE OF CONTENTS | PAGE NO. |
| --- | --- | --- |
| 1 | Introduction | 4 |
| 2 | Tasks for projects | 5 |
| 3 | Characterization of waste | 6 |
| 4 | Survey phase | 7 |
| 5 | Preparation of general profile | 8 |
| 6 | Waste stream assessment and quatification | 10 |
| 7 | Management plan for effective waste collection | 14 |
| 8 | Determination of haul speed constant and time | 15 |
| 9 | Efficient route for waste collection | 17 |
| 10 | Screening Efficiency | 20 |
| 11 | Tanners diagram | 22 |
| 12 | System definitions | 23 |

Task 2

WASTE COLLECTION SYSTEM

Analyze the waste characteristics such as moisture content and magnetic property and record it. The task involves assessing the waste generation patterns that are recorded by understanding the local demographics and considering environmental and logistical factors. Based on the analysis the type of waste collection system that is required for the place is to be selected and justified.

Door to door collection

Waste Collection Process:

i. How is the waste generated from hotels collected?

a. Tractor with sanitary workers b. Private waste management service c. Other

ii. How many sanitary workers are typically involved in the waste collection process? 2 or 3

iii. At what time is the waste collection usually conducted in the morning? 7am

Frequency of Waste Collection:

i) How often is waste collected from hotels in your area?

a. Daily b.Weekly c. Bi-weekly

ii. How satisfied are you with the current frequency of waste collection from hotels?

- Very satisfied b. Satisfied c. Neutral d. Dissatisfied e. Very dissatisfied

Waste Disposal Destination:

i. Where is the collected non-biomedical waste from hospitals taken?

a. Dumping yard b. Recycling facility

Biomedical Waste Generation

i. What types of biomedical waste are generated in your facility?

a. Sharps b. Infectious waste c. Pathological waste d. Pharmaceutical waste e. Radioactive waste

f. Chemical waste g. Others (please specify)

Management Plan for effective waste collection:

| Component | Bins for segregation | Door to Door collection | Street Sweeping | Secondary Collection |
| --- | --- | --- | --- | --- |
| Indicator | Segregation of waste at source by storing of waste in 3 different bins wet, dry and domestic hazardous waste | Organize Street sweeping covering all the residential and commercial areas on all the days of the year irrespective of Sundays and public holidays. | Organize Street sweeping covering all the residential and commercial areas on all the days of the year irrespective of Sundays and public holidays. | Check for secondary bins collection in your locality? |
| Existing Practices | Yes | Yes | yes | yes |
| Proposed Solution | - | - | - | - |

# Comparison between the Activity HCS & SCS

A private company for garbage collection wishes to locate the Material recovery facility near the commercial area. The collection system preferred is hauled container system, but they fear getting more cost of operation. Find out the maximum distance on which the material recovery facility can be planned. The cost of operation of the hauled container system is the same as that of stationary container system. Assume that one collector-driver vehicle will be used for both stationary and hauled container system.

Data for HCS:

- Quantity of solid wastes = 230 m3/week

- Container size = 6 m3/trip

- Container Utilization factor = 0.67

- Container pickup time = 0.03 h/trip

- Haul time constants a = 0.022 h/trip and

b = 0.014 h/km

- At-site time (s) = 0.05 h/trip

- Overhead costs = ₹ 28464 per week

- Operational Costs = ₹ 1067 per/hour of operation Data for SCS:

a)Quantity of solid wastes = 230 m3/week

b)Container size = 6 m3/location

c)Container utilization factor = 0.67

d)Collection vehicle capacity= 23 m3/trip

e)Collection vehicle compaction ratio = 2

f)Container unloading time = 0.05  h/container

g)Haul time constants: a = 0.02 h / trip and        b = 0.01 h / km

h)At-site time (s) = 0.01 h/trip

- Overhead costs = ₹53370 per week

- Operational costs = ₹1423 per hour of operation Location Characteristics:

- Average distance between container

locations  = dbc = 0.16 km

- Operational costs = ₹1423 per hour of operation

- Constants for estimating driving time between container locations for both haul and stationary container systems are 𝑎 = 0.060 h/ trip and        b = 0.042 h/km

Step 1: Number of trips per week

Weekly quantity of waste collected

Nw =

(Average container size)(Container utilization factor)

𝑉𝑤

Nw =  ____________    =    57trips/wk

𝑐𝑓

# Step 2: Average pickup time for the HCS

𝑃HCS =  pc + uc + dbc

If ‘dbc’ is not given, use haul speed constants

𝑃HCS =  pc + uc + (a+bx)

𝑃HCS = _0.03+0.03+0.06+(0.16)

=0.13h/trip_

Step 3: Time required per week (𝐓𝐰) as a function of the round-trip haul distance

𝑇𝑤 = 𝑁𝑤(𝑃𝐻𝐶𝑆𝐻(1+−𝑠𝑊+)𝑎+𝑏𝑥)

TW = 1.7+0.12x d/wk

# Step 4: Time required per week, Tw as a function of the round-trip haul distance

Operational cost=(operationalcost per hour)*

(Daily total hours of operations)*[time required per week (TW)]=

14852.64+1024.32(x)(1wk)

Total cost (1week)=operational cost +overhead cost=

=28464

# Step 1: Number of containers emptied per trip

( volume of collection vehicle) (compaction ratio)

𝐶1 =	  (container volume) (container utilization factor)

𝒗𝒓

= _______________ =11.44

𝒄𝒇

# Step 2: Pickup time per container

PSCS = C1(uc) + (Np - 1) dbc

PSCS = __1.22H/trip________

# Step 3: No. of trips required per week

Weekly quantity of waste collected

Nw	 = (volume of collection vehicle) (compaction ratio)

𝑉𝑤

=           	=   230/ 23*2                              = __5__ 𝑡𝑟𝑖𝑝𝑠/𝑤𝑒𝑒𝑘

𝑉𝑟

# Step 4: Time required per week, Tw as a function of the round-trip haul distance

𝑇w(𝑠𝑐s) = 𝑁𝑤 × 𝑃𝑠𝑐𝑠 + 𝑁𝑤(𝑠 + 𝑎 + 𝑏𝑥)

________________________________

H(1-W)

TW=0.92+0.01x d/week

# Step 5: Weekly operational cost as a function of round−trip haul distance

Operational cost = Operational cost per hour x  daily total hours of operation x Time required per week

Operational cost =      Rs.53370/w

Total cost (₹/week) = Operational cost + Overhead cost

Total cost (₹/week) =   ____63843.28+113.84(x)________________________

Step 6 : Comparison of Cost

| Round trip haul Distance (x) ,Km | Hauled Container system (Rs/Week) Total cost = 43,316.64+1024.32(x) | Sattionary containers system (Rs/Week) Total Cost=63843.28+113.84(x) |
| --- | --- | --- |
| 0 | 43316.60 | 63843.28 |
| 5 | 48438.24 | 64412.48 |
| 10 | 53559.84 | 64981.68 |
| 15 | 58681.44 | 65550.88 |
| 20 | 63803 | 66120 |
| 25 | 68924.64 | 66689.28 |
| 30 | 74046.24 | 67258.48 |
| 35 | 79167.84 |  |

Operational cost=(operationalcost per hour)*

(Daily total hours of operations)*[time required per week (TW)]=

14852.64+1024.32(x)(1wk)

Total cost (1week)=operational cost +overhead cost=

=28464

# Step 1: Number of containers emptied per trip

( volume of collection vehicle) (compaction ratio)

𝐶1 =	  (container volume) (container utilization factor)

𝒗𝒓

= _______________ =11.44

𝒄𝒇

# Step 2: Pickup time per container

PSCS = C1(uc) + (Np - 1) dbc

PSCS = __1.22H/trip________

# Step 3: No. of trips required per week

Weekly quantity of waste collected

Nw	 = (volume of collection vehicle) (compaction ratio)

𝑉𝑤

=           	=   230/ 23*2                              = __5__ 𝑡𝑟𝑖𝑝𝑠/𝑤𝑒𝑒𝑘

𝑉𝑟

# Step 4: Time required per week, Tw as a function of the round-trip haul distance

𝑇w(𝑠𝑐s) = 𝑁𝑤 × 𝑃𝑠𝑐𝑠 + 𝑁𝑤(𝑠 + 𝑎 + 𝑏𝑥)

________________________________

H(1-W)

TW=0.92+0.01x d/week

# Step 5: Weekly operational cost as a function of round−trip haul distance

Operational cost = Operational cost per hour x  daily total hours of operation x Time required per week

Operational cost =      Rs.53370/w

Total cost (₹/week) = Operational cost + Overhead cost

Total cost (₹/week) =   ____63843.28+113.84(x)________________________